## Points List
Project:
Quote Ref: |  |  | Customer:
Revision: |  |  | Contact:
Date:
Prepared By: | [7 empty] | Costs
Description | AI | AO | DI | DO | HLI | Quantity | Part No. | Panel At 20% | Parts At 0% | Labour At 20%
1
Panel Ref and IP rating
[12 empty] | TTI-S Brass Pocket | 61 | Labour | 60
Common LPHW Devices | [5 empty] | 0 |  |  |  | 0 |  | TS90-B3 | 75
LPHW Header Flow Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0 |  | TT-0-A | 60
LPHW Header Return Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket | 0 | 0 | 0 |  | TV090U | 66
Outside Frost Thermostat |  |  | 0 |  |  |  | TS90-B3 |  | 0 | 0 |  | 482B-2 (0…10V dc) | 252
Outside Temperature Sensor | 0 | [5 empty] | TT-0-A | 0 | 0 | 0 |  | H&C KR80.207 | 115
Immersion Frost Thermostat |  |  | 0 |  |  |  | TV090U |  | 0 |  |  | Thermo 40mm/DM1.1 | 363
[12 empty] | TI/Brass Pocket | 61
Hot Water Generator No.1 | [5 empty] | 0 | [5 empty] | Sauter UN040/Couplings/AVM | 516
Hot Water Generator Enable |  |  |  | 0 |  |  | Volt Free Contacts | 0 |  | 0 |  | 65-5-CMCH Kamstrup (65mm) | 1850
Hot Water Generator Common Fault |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0 |  | RIBXKTF | 55
Hot Water Generator Differential Press. Sensor |  | 0 |  |  |  |  | 482B-2 (0…10V dc) | 0 | 0 | 0 |  | H&C LL13 (3M Cable) | 55
[12 empty] | Danfoss EV220B DN 40 | 425
Boiler | [5 empty] | 0 | [5 empty] | Sontay LS-RD | 1600
Boiler Enable |  |  |  | 0 |  |  | Volt Free Contacts | 0 |  | 0 |  | Sontay PL-520-6-V | 260
Boiler Common Fault |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0 |  | Sontay FS-W | 115
Boiler Control Signal |  | 0 |  |  |  |  | 0…10V dc | 0 |  | 0 |  | VKF46.100/SQL85/ASK35.2 | 1000
Boiler Flow Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0 |  | ALCO FD 113 | 130
Boiler Return Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0 |  | Sontay AV-D | 240
[12 empty] | Joventa DA2.S | 185
LPHW Pressurisation Unit | [5 empty] | 0 |  | 0 |  |  |  | Joventa DM1.1 | 230
LPHW Pressurisation Unit High Pressure |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0 |  | Elester CPS-DS/DUCT KIT | 50
LPHW Pressurisation Unit Low Pressure |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0 |  | Sontay PA-DPT | 320
[12 empty] | Sontay ST-FRE | 105
Dosing Unit | [5 empty] | 0 | [5 empty] | TTI | 55
Dosing Unit Fault |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0 |  | Sontay ST-D | 95
[12 empty] | Thyristor (1 Phase 3.5kW) ACL1/3.5 | 450
Primary LPHW Single Pumps | [5 empty] | 0 | [5 empty] | Sontay RH-SH | 190
Primary LPHW Pump | [6 empty] | Intelligent Pumps | 0 |  |  |  | Sontay RH-D-HA | 280
Enable |  |  |  | 0 |  |  | Volt Free Contacts |  |  | 0 |  | Sontay GS-CO2-AQ-D | 360
Status |  |  | 0 |  |  |  | Volt Free Contacts |  | 0 | 0 |  | Sontay SD-D | 355
Variable Speed Drive |  | 0 | 0 | 0 |  |  | Built in to Pump |  |  | 0 |  | Sontay TT-S-A | 45
Flow Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0 |  | Sontay TT-S-A/SP | 55
3 Port Control Valve / Actuator |  | 0 |  |  |  |  | Thermo 40mm/DM1.1 |  | 0 | 0 |  | Sontay RH-S | 255
[12 empty] | Sontay GS-CO2-S | 255
Calorifier | [5 empty] | 0 | [5 empty] | Sauter UN025/Couplings/AVM | 435
Calorifier Mains 1.0kW | [7 empty] | 0 |  |  |  | Sauter UN015/Couplings/AVM | 335
Calorifier Enable and Fault |  |  | 0 | 0 |  |  | Volt Free Contacts |  |  | 0
Calorifier Immersion Temperature Sensor | 0 | [5 empty] | TI/Brass Pocket |  | 0 | 0
High Limit Thermostat (60-95 Man. Reset) |  |  | 0 |  |  |  | H&C KR80.207 |  | 0 | 0
Flow Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Return Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
3 Port Control Valve / Actuator |  | 0 |  |  |  |  | Sauter UN040/Couplings/AVM |  | 0 | 0
Calorifier Immersion Heater | [5 empty] | 0
Immersion Heater Enable |  |  |  | 0 |  |  | Volt Free Contacts | 0 |  | 0
Heat Meter | 0 | [5 empty] | 65-5-CMCH Kamstrup (65mm) |  | 0 | 0
Calorifier Immersion Heater | [5 empty] | 0
Immersion Heater Enable |  |  |  | 0 |  |  | Volt Free Contacts | 0 |  | 0
[9 empty] | (*) | 0
LPHW Circuit - HWSr | [5 empty] | 0
LPHW HWSr Pump Mains 4kW | [6 empty] | Volt Free Contacts | 0
Enable and Current Switch |  |  | 0 | 0 |  |  | RIBXKTF |  | 0 | 0
Gas Detection Panel | [5 empty] | 0
Gas Detection Panel Mains 1.0kW | [7 empty] | 0
Gas Leak Alarm Unit Status |  |  | 0 |  |  |  | By Others |  |  | 0
Emergency Push Button / Shut Off |  |  | 0 |  |  |  | By Others |  |  | 0
Gas Slamshut Valve Status |  |  | 0 |  |  |  | By Others |  |  | 0
Storage Tank - Mains Water | [5 empty] | 0
MWS Tank Section 1 Low Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
MWS Tank Section 1 High Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
MWS Tank Section 2 Low Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
MWS Tank Section 2 High Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
MWS Tank Immersion Temperature Sensor | 0 | [5 empty] | TI/Brass Pocket |  | 0 | 0
Solenoid Sauter UN040/Couplings/AVM |  |  | 0 |  |  |  | Danfoss EV220B DN 40 |  | 0 | 0
Ultrasonic Level Transmitter | 0 | [5 empty] | Sontay LS-RD |  | 0 | 0
Booster Unit - Mains Water | [5 empty] | 0 |  | 0
Mains Water Booster Unit Common Fault |  |  | 0 |  |  |  | Volt Free Contacts |  |  | 0
Storage Tank - Cold Water | [5 empty] | 0
CWS Tank Low Low Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
CWS Tank Section 1 Low Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
CWS Tank Section 1 High Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
CWS Tank High High Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
CWS Tank Section 2 Low Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
CWS Tank Section 2 High Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0 | 0
CWS Tank Immersion Temperature Sensor | 0 | [5 empty] | TI/Brass Pocket |  | 0 | 0
Solenoid Sauter UN040/Couplings/AVM |  |  | 0 |  |  |  | Danfoss EV220B DN 40 |  | 0 | 0
Ultrasonic Level Transmitter | 0 | [5 empty] | Sontay LS-RD |  | 0 | 0
Booster Unit - Cold Water | [5 empty] | 0 |  | 0
Cold Water Booster Unit Common Fault |  |  | 0 |  |  |  | Volt Free Contacts |  |  | 0
Booster Unit - Hot & Cold Water | [5 empty] | 0 |  | 0
Hot & Cold Water Booster Unit Common Fault |  |  | 0 |  |  |  | Volt Free Contacts |  |  | 0
Storage Tank - Fire Hose Reel | [5 empty] | 0
FHR Tank Section 1 Low Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
FHR Tank Section 1 High Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
FHR Tank Section 2 Low Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
FHR Tank Section 2 High Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
FHR Tank Immersion Temperature Sensor | 0 | [5 empty] | TI/Brass Pocket |  | 0 | 0
Ultrasonic Level Transmitter | 0 | [5 empty] | Sontay LS-RD |  | 0 | 0
Booster Unit - Fire Hose Reel | [5 empty] | 0 |  | 0
Fire Hose Reel Booster Unit Common Fault |  |  | 0 |  |  |  | Volt Free Contacts |  |  | 0
Storage Tank - Rain Water | [5 empty] | 0
RWS Tank Section 1 Low Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
RWS Tank Section 1 High Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
RWS Tank Section 2 Low Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
RWS Tank Section 2 High Level Status |  |  | 0 |  |  |  | H&C LL13 (3M Cable) |  | 0 | 0
RWS Tank Immersion Temperature Sensor | 0 | [5 empty] | TI/Brass Pocket |  | 0 | 0
Solenoid Sauter UN040/Couplings/AVM |  |  | 0 |  |  |  | Danfoss EV220B DN 40 |  | 0 | 0
Ultrasonic Level Transmitter | 0 | [5 empty] | Sontay LS-RD |  | 0 | 0
Booster Unit - Rain Water | [5 empty] | 0 |  | 0
Rain Water Booster Unit Common Fault |  |  | 0 |  |  |  | Volt Free Contacts |  |  | 0
Rain Water Harvesting | [5 empty] | 0 |  | 0
Rain Water Harvesting Set Status |  |  | 0 |  |  |  | Volt Free Contacts |  |  | 0
Static Pressure Sensor (Liquid) | 0 | [5 empty] | Sontay PL-520-6-V |  | 0 | 0
Chiller | [5 empty] | 0
Chiller Mains | [6 empty] | By others
Chiller Enable and Status |  |  | 0 | 0 |  |  | Volt Free Contacts |  |  | 0
Chiller Flow Switch |  |  | 0 |  |  |  | Sontay FS-W |  | 0 | 0
Chiller Flow Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Chiller Return Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Chiller Isolation Valve 100mm |  |  | 0 | 0 |  |  | VKF46.100/SQL85/ASK35.2 |  | 0 | 0 | Check Price
Chiller Isolation Valve Enable and Status | [6 empty] | Volt Free Contacts
Primary CHW Pump A | [6 empty] | Volt Free Contacts | 0
Enable |  |  |  | 0 | [5 empty] | 0
Pump A Current Switch |  |  | 0 |  |  |  | RIBXKTF |  | 0 | 0
Variable Speed Drive |  | 0 | 0 | 0 |  |  | VSD ??kW |  |  | 0
Primary CHW Pump B | [6 empty] | Volt Free Contacts | 0
Enable |  |  |  | 0 | [5 empty] | 0
Pump A Current Switch |  |  | 0 |  |  |  | RIBXKTF |  | 0 | 0
Variable Speed Drive |  | 0 | 0 | 0 |  |  | VSD ??kW |  |  | 0
Flow Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Return Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
3 Port Control Valve / Actuator |  | 0 |  |  |  |  | Sauter UN040/Couplings/AVM |  | 0 | 0
Static Pressure Transmitter | 0 | [5 empty] | Sontay PL-520-6-V |  | 0 | 0
Heat Meter | 0 | [5 empty] | 65-5-CMCH Kamstrup (65mm) |  | 0 | 0 | Check
Differential Pressure Switch |  |  | 0 |  |  |  | ALCO FD 113 |  | 0 | 0
CHW Pressurisation Unit | [5 empty] | 0 | Volt Free Contacts | 0
CHW Pressurisation Unit Fault |  |  | 0 |  |  |  | Volt Free Contacts |  |  | 0
CHW Pressurisation Unit High & Low Pressure |  |  | 0 |  |  |  | Volt Free Contacts |  |  | 0
Chilled Water Buffer Tank | [5 empty] | 0
Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
AHU
Airflow Volume | 0 | [5 empty] | Sontay AV-D |  | 0 | 0
Intake Air Damper Actuator (Enabled with SAF) |  |  | 0 |  |  |  | Joventa DA2.S | 0 | 0 | 0
Extract Air Damper Actuator (Enabled with EAF) |  |  | 0 |  |  |  | Joventa DA2.S | 0 | 0 | 0
Intake Air Damper Actuator |  | 0 |  |  |  |  | Joventa DM1.1 |  | 0 | 0
Mixing Damper Actuator |  | 0 |  |  |  |  | Joventa DM1.1 |  | 0 | 0
Extract Air Damper Actuator |  | 0 |  |  |  |  | Joventa DM1.1 |  | 0 | 0
Panel Filter Pressure Switch |  |  | 0 |  |  |  | Elester CPS-DS/DUCT KIT | 0 | 0 | 0
Bag Filter Pressure Switch |  |  | 0 |  |  |  | Elester CPS-DS/DUCT KIT | 0 | 0 | 0
Panel Filter Pressure Sensor | 0 | [5 empty] | Sontay PA-DPT | 0 | 0 | 0
Bag Filter Pressure Sensor | 0 | [5 empty] | Sontay PA-DPT | 0 | 0 | 0
Manual Reset Duct Frost Stat |  |  | 0 |  |  |  | Sontay ST-FRE | 0 | 0 | 0
Pre Heat Coil Control Valve |  | 0 |  |  |  |  | Sauter UN040/Couplings/AVM |  | 0 | 0
Pre Heat Coil Off Coil Temperature Sensor | 0 | [5 empty] | TTI |  | 0 | 0
Pre Heat Coil Flow Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Pre Heat Coil Return Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Heating Coil Control Valve |  | 0 |  |  |  |  | Sauter UN040/Couplings/AVM |  | 0 | 0
Heating Coil Off Coil Temperature Sensor | 0 | [5 empty] | TTI |  | 0 | 0
Heating Coil Flow Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Heating Coil Return Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Cooling Coil Control Valve |  | 0 |  |  |  |  | Sauter UN040/Couplings/AVM |  | 0 | 0
Cooling Coil Off Coil Temperature Sensor | 0 | [5 empty] | TTI |  | 0 | 0
Cooling Coil Flow Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Cooling Coil Return Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
AHU Gas Burner | [7 empty] | 0
Enable, Control and Common Fault |  | 0 | 0 | 0 |  |  | Volt Free Contacts | 0 |  | 0
Duct Thermostat |  |  | 0 |  |  |  | Sontay ST-D | 0 | 0 | 0
AHU DX Condensor Unit | [6 empty] | By others |  | 0 | 0
DX Condensor Unit Fault |  |  | 0 |  |  |  | Volt Free Contacts | 0 | 0 | 0
AHU DX Condensor Unit Enable Stage 1 |  |  |  | 0 |  |  | Volt Free Contacts |  | 0 | 0
AHU DX Condensor Unit Enable Stage 2 |  |  |  | 0 |  |  | Volt Free Contacts |  | 0 | 0
AHU Heat Recovery Pump | [7 empty] | 0
Enable and Current Switch |  |  | 0 | 0 |  |  | RIBXKTF |  | 0 | 0
Heating Recovery Control Valve |  | 0 |  |  |  |  | Sauter UN040/Couplings/AVM |  | 0 | 0
Heat Recovery Coil Flow Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Heat Recovery Coil Return Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Heat Recovery Coil Off Coil Temperature Sensor | 0 | [5 empty] | TTI |  | 0 | 0
AHU Heat Recovery Wheel | [7 empty] | 0
Enable, Control and Common Fault |  | 0 | 0 | 0 |  |  | Volt Free Contacts | 0 |  | 0
Heat Recovery Wheel Off Coil Temperature Sensor | 0 | [5 empty] | TTI |  | 0 | 0
Heat Recovery Wheel Filter Pressure Switch |  |  | 0 |  |  |  | Elester CPS-DS/DUCT KIT |  | 0 | 0
AHU Electric Heater Battery | [7 empty] | 0
Enable, Control and Common Fault |  | 0 | 0 | 0 |  |  | Volt Free Contacts | 0 |  | 0
Duct Thermostat |  |  | 0 |  |  |  | Sontay ST-D | 0 | 0 | 0
Electric Heating Controller Control |  | 0 |  |  |  |  | Thyristor (1 Phase 3.5kW) ACL1/3.5 | 0 | 0 | 0
Electric Heating Off Coil Temperature Sensor | 0 | [5 empty] | TTI |  | 0 | 0
AHU Supply Coil On Coil Temperature Sensor | 0 | [5 empty] | TTI |  | 0 | 0
Heat Exchanger Face/Bypass Damper |  |  |  | 0 |  |  | Joventa DM1.1 | 0 | 0 | 0
AHU Humidifier | [7 empty] | 0
Enable, Control and Common Fault |  | 0 | 0 | 0 |  |  | Volt Free Contacts | 0 | 0 | 0
Duct Humidistat |  |  | 0 |  |  |  | Sontay RH-SH | 0 | 0 | 0
Humidifier Panel Filter Pressure Switch |  |  | 0 |  |  |  | Elester CPS-DS/DUCT KIT | 0 | 0 | 0
Plant Steam: Steam Control Valve |  | 0 |  |  |  |  | Device By Others |  |  | 0
Supply Air Temperature Sensor | 0 | [5 empty] | TTI |  | 0 | 0
Supply Air Temperature / Humidity Sensor | 0 | [5 empty] | Sontay RH-D-HA |  | 0 | 0
Supply Air Pressure Sensor | 0 | [5 empty] | Sontay PA-DPT |  | 0 | 0
Supply Air Velocity Sensor | 0 | [5 empty] | Sontay AV-D |  | 0 | 0
Supply Duct CO2 Sensor | 0 | [5 empty] | Sontay GS-CO2-AQ-D |  | 0 | 0
Supply Duct Smoke Detector |  |  | 0 |  |  |  | Sontay SD-D | 0 | 0 | 0
Extract Air Temperature Sensor | 0 | [5 empty] | TTI |  | 0 | 0
Extract Air Temperature / Humidity Sensor | 0 | [5 empty] | Sontay RH-D-HA |  | 0 | 0
Extract Air Pressure Sensor | 0 | [5 empty] | Sontay PA-DPT |  | 0 | 0
Extract Air Velocity Sensor | 0 | [5 empty] | Sontay AV-D |  | 0 | 0
Extract Duct CO2 Sensor | 0 | [5 empty] | Sontay GS-CO2-AQ-D |  | 0 | 0
Extract Duct Smoke Detector |  |  | 0 |  |  |  | Sontay SD-D | 0 | 0 | 0
Space Temperature Sensor No.1 | 0 | [5 empty] | Sontay TT-S-A |  | 0 | 0
Space Temperature Sensor No.2 | 0 | [5 empty] | Sontay TT-S-A |  | 0 | 0
Space Temperature Sensor (SP Adjust) No.1 | 0 | [5 empty] | Sontay TT-S-A/SP |  | 0 | 0
Space Temperature Sensor (SP Adjust) No.2 | 0 | [5 empty] | Sontay TT-S-A/SP |  | 0 | 0
Space Temperature and Humidity Sensor No.1 | 0 | [5 empty] | Sontay RH-S |  | 0 | 0
Space Temperature and Humidity Sensor No.2 | 0 | [5 empty] | Sontay RH-S |  | 0 | 0
Space CO2 + Temperature Sensor | 0 | [5 empty] | Sontay GS-CO2-S |  | 0 | 100
Hepa Filter Pressure Switch |  |  | 0 |  |  |  | Elester CPS-DS/DUCT KIT | 0 | 0 | 0
AHU Supply Fan | [6 empty] | <5.5Kw | 0 | 0 | 0
Enable and Current Switch |  |  | 0 | 0 |  |  | Volt Free Contacts | 0 | 0 | 0
Enable, Control and Common Fault |  | 0 | 0 | 0 |  |  | Volt Free Contacts | 0 | 0 | 0
Airflow Switch |  |  | 0 |  |  |  | Elester CPS-DS/DUCT KIT | 0 | 0 | 0
AHU Extract Fan | [6 empty] | <5.5Kw | 0 | 0 | 0
Enable and Current Switch |  |  | 0 | 0 |  |  | Volt Free Contacts | 0 | 0 | 0
Enable, Control and Common Fault |  | 0 | 0 | 0 |  |  | Volt Free Contacts | 0 | 0 | 0
Airflow Switch |  |  | 0 |  |  |  | Elester CPS-DS/DUCT KIT | 0 | 0 | 0
Re Heat Battery | [5 empty] | 0
Reheat Battery Control Valve |  | 0 |  |  |  |  | Sauter UN025/Couplings/AVM |  | 0 | 0
Space Temperature Sensor | 0 | [5 empty] | Sontay TT-S-A |  | 0 | 0
Supply Air Temperature Sensor | 0 | [5 empty] | TTI |  | 0 | 0
Extract Fan | [5 empty] | 0
Enable and Current Switch |  |  | 0 | 0 |  |  | RIBXKTF | 0 | 0 | 0
Natural Ventilation | [5 empty] | 0
Window Actuator Enable |  |  |  | 0 |  |  | Volt Free Contacts | 0 |  | 0
Window Actuator Status |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0
0
Metering | [5 empty] | 0 |  |  |  | 0
Main Gas Meter - Pulsed Input | 0 | [5 empty] | Device By Others |  |  | 0
Main Water Meter - Pulsed Input | 0 | [5 empty] | Device By Others |  |  | 0
Main Electricity Meter - Pulsed Input | 0 | [5 empty] | Device By Others |  |  | 0
Fire Alarm Interface Hardwired |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0
Generator | [5 empty] | 0
Generator Alarms |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0
Generator Common Fault |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0
Generator Run Alarm |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0
Generator Diesel Tank High Level |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0
Generator Diesel Tank Low Level |  |  | 0 |  |  |  | Volt Free Contacts | 0 |  | 0
Unit Heater | [5 empty] | 0 |  | 0
Unit Heater Enable |  |  |  | 0 |  |  | Volt Free Contacts |  |  | 0
Unit Heater Status |  |  | 0 |  |  |  | RIBXKTF | 0 | 0 | 0
Unit Heater 3 Port Control Valve / Actuator |  | 0 |  |  |  |  | Sauter UN015/Couplings/AVM |  | 0 | 0
Space Temperature Sensor | 0 | [5 empty] | Sontay TT-S-A |  | 0 | 0
Air Curtain | [5 empty] | 0 |  | 0
Air Curtain Enable |  |  |  | 0 |  |  | Volt Free Contacts |  |  | 0
Air Curtain Status |  |  | 0 |  |  |  | RIBXKTF | 0 | 0 | 0
Air Curtain 3 Port Control Valve / Actuator |  | 0 |  |  |  |  | Sauter UN015/Couplings/AVM |  | 0 | 0
Space Temperature Sensor | 0 | [5 empty] | Sontay TT-S-A |  | 0 | 0
Under Floor Heating Pump | [5 empty] | 0 | Volt Free Contacts | 0
Pump Enable |  |  |  | 0 |  |  | Volt Free Contacts |  |  | 0
Pump Status - Current Switch |  |  | 0 |  |  |  | RIBXKTF | 0 | 0 | 0
Flow Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Return Immersion Temperature Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
3 Port Control Valve / Actuator 1 |  | 0 |  |  |  |  | Sauter UN040/Couplings/AVM |  | 0 | 0
[9 empty] | 0 | 0
AC Units | [5 empty] | 0 |  |  | 0 | 0
AC Units | [5 empty] | 0 |  | 0 | 0 | 0
AC Unit No Common Fault |  |  | 0 |  |  | 0 | Volt Free Contacts | 0 |  | 0
[6 empty] | 0 |  |  | 0 | 0
Radiator Circuit | [5 empty] | 0
Radiator Enable |  |  |  | 0 |  |  | Volt Free Contacts | 0 |  | 0
Radiator Flow Temp Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Radiator Return Temp Sensor | 0 | [5 empty] | TTI-S Brass Pocket |  | 0 | 0
Radiator Control Valve Actuator |  | 0 |  |  |  |  | Sauter UN025/Couplings/AVM |  | 0 | 0
FCU (Fan Coil Unit) | [5 empty] | 0
Space Temperature Sensor | 0 | [5 empty] | Sontay TT-S-A |  | 0 | 0
Control Valve Actuator |  | 0 |  |  |  |  | Sauter UN015/Couplings/AVM |  | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 1
[6 empty] | 1 |  | 0 | 0 | 100
[6 empty] | 1 |  |  | 0 | (Add 20%)
BMS Requirements | Quantity |  |  |  |  | 1
OMNI C40D | 1 |  |  |  |  | 1 |  |  | 1980 | 1070 | Cost/Controller
iSMA Mix38 | 1 |  |  |  |  | 1 |  |  | 350
10" Display | 1 |  |  |  |  | 1 |  |  | 900
1
Summary | [5 empty] | 1 |  | BMS Ctlr | 3230
MCC Panel | 0 |  |  |  |  | 1
Field Devices | 0 |  |  |  |  | 1 |  | Total | 19275
BMS Controllers | 3230 |  |  |  |  | 1
Commissioning/Engineering | 0 |  |  |  |  | 1
Graphics includes PC & Licence | 0 |  |  |  |  | 1
1
Total: | 3230 |  |  |  |  | 1
1
Remote Internet access available on controller - Internet access to be provided by others | [5 empty] | 1
1
Price Excludes: | [5 empty] | 1
VAT. | [5 empty] | 1
Retention. | [5 empty] | 1
Offloading of panels and devices. | [5 empty] | 1
Mounting of panels and devices. | [5 empty] | 1
Termination of field devices. | [5 empty] | 1
Field Wiring | [5 empty] | 1
1
Notes: | [5 empty] | 1
Our Quotation is valid for 90 days from the date of this proposal. | [5 empty] | 1
All work has been costed for completion during normal working hours, Mon – Fri (8am – 5pm) excluding bank holidays.
Although some items may have been costed separately, it is assumed that all items will be carried out at the same time.
Price includes for delivery of equipment to your site, handover documentation and 1 years warranty.
3 years warranty is available if a maintenance contract is taking out for the 3 year period.
Price includes our Standard Risk Assessment and Method Statements - additional costs may be incurred for alternative RAMS